| MID-DAKOTA RURAL WATER SYSTEM, INC. Miller, South Dakota Rules and Regulations |  | GENERAL Policy Bulletin (PB) Series: 100 Bulletin No. : 11 |
| --- | --- | --- |

PB 111

CORPORATION RESPONSIBILITIES & LIABILITIES:

PURPOSE

To establish the Corporation’s rights and responsibilities when placing a hookup upon a User’s property.

TERMS OF POLICY

A.	For Residential and Rural Household water user hookups, the Corporation will install a Service Line from its Mainline to a point convenient to the Corporation at or near the edge of the yard area of the household, at which point the Corporation will install a meter pit and meter assembly.  At the User’s expense, the Corporation will install Service Line to an approved, dry, frost proof Water User Connection Point provided by the water User in a house basement or suitable underground location.  If an acceptable frost free Water User Connection Point is not available, the Corporation will install the Service Line as close to the household as possible to allow for connection.

B.	For Livestock water user hookups, the Corporation will, at the User’s expense, install a Service Line from its Mainline to a point convenient to the Corporation just within the property described in the water user agreement.  The Corporation will install a meter pit and meter assembly.

C.	For Special water user hookups, the details of the connection will be described in the water purchase contract.

D.	When two or more meters are installed on the same premises for different water Users, they shall be closely grouped and each clearly designated to which water User it applies.

E.	The Corporation reserves the right to check all meters at any time and will cause all meters to be read at least annually.

F.	The water User's line or piping must be installed in such a manner as to prevent cross-connection or backflow, and all connections from other sources are disconnected.  If the water User fails to so install the line or piping, the Corporation may refuse to provide service.

G.	The Corporation shall not be liable for damage of any kind whatsoever resulting from water or the use of water on water user's premises unless such damage results directly from negligence on the part of the corporation.  The Corporation shall not be responsible for any damage done by or resulting from any defects in the piping, fixtures, or appliances on the water user's premises. The Corporation shall not be responsible for negligence of third persons or forces beyond the control of the Corporation resulting in any interruption of service.

CROSS REFERENCE(S)

PB 100, Definitions and Objectives.

| Date Initially Adopted: | 01/04/1993 | Amended / Revised: | 3/11/2008 3/10/2009 4/13/2021 |
| --- | --- | --- | --- |
| ADOPTED: |

By: ____________________________________________

Chairperson of the Board

(Corporate Seal)

ATTEST:

By: ____________________________________________

Title: ____________________________________